## Slide 1
Scan parameters (Cariage):
Xaxis =18 mm
Step size 0.2 mm
Yaxis=3mm
Step size 1 mm
Acquisition time 1sec ( 0.1 sec)
Total points 346

## Slide 2
Scan parameters (Snake):
  Xaxis =18 mm
    Step size 0.2 mm
  Yaxis=3mm
    Step size 0.2 mm
  Acquisition time 1sec ( 0.1 sec)
  Total points 1456
  Total time 35 min

## Slide 3
Scan parameters (Carriage):
  Xaxis =20 mm
    Step size 0.5 mm
  Yaxis=2 mm
    Step size 0.5 mm
  Acquisition time 1sec ( 0.1 sec)
  Total points 205
  Total time 4:27 min

## Slide 4
Scan parameters (Carriage):
  Xaxis =20 mm
    Step size 0.5 mm
  Yaxis=2 mm
    Step size 0.5 mm
  Acquisition time 0.1sec ( 0.01 sec ?)
  Total points 205
  Total time 4:15 min

## Slide 5
Scan parameters (Carriage):
  Xaxis =20 mm
    Step size 0.5 mm
  Yaxis=2 mm
    Step size 0.5 mm
  Acquisition time 0.1sec ( 0.01 sec ?)
  Total points 205
  Total time 4:15 min
  Time preset 10 sec

## Slide 6
Scan parameters (Carriage):
  Xaxis=20 mm
    Step size 0.5 mm
  Yaxis=20 mm
    Step size 0.5 mm
  Acquisition time 5sec ( 0.5 sec ?)
  Total points 1681
  Total time 30:150 min
  Presicion 0.2 mm

## Slide 7
Scan parameters (Snake):
  Xaxis =30 mm
    Step size 0.5 mm
  Yaxis=30 mm
    Step size 0.5 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 3721
  Total time 46:48 min
  Precision 0.2 mm
  Proximity sensor: 71 mm
!! Αρκετά ομαλή κίνιση με επιτάχυνση 10mm/sec^2 και ταχύτητα 61 mm/sec
!! Τελευταίες γραμμές μετακινήθηκε με το χέρι γιατί ήταν πολύ κοντά στην πλαστελίνη το παράθυρο του ανιχνευτή

## Slide 8
Scan parameters (Snake):
  Xaxis=50 mm
    Step size 1 mm
  Yaxis=50 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 2601
  Total time 39:12 min
  Presicion 0.3 mm
  Proximity sensor: 73 mm
!! Αρκετά ομαλή κίνηση με επιτάχυνση 10mm/sec^2 και ταχύτητα 61 mm/sec
!! Στις τελευταίες γραμμές μέτραγε πλαστελίνη

## Slide 9
Scan parameters (Snake):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 0.1 mm
  Proximity sensor: 71.5 mm
  Roi: 860-900
  Point movement duration 832 msec
  Acquisition time: 0.24 msec

## Slide 10
Scan parameters (Snake):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 0.2 mm
  Proximity sensor: 69.3 mm
  Roi: 860-900
  Point movement duration: 735 msec
  Acquisition time: 0.24 msec
  Total time: 08:17

## Slide 11
Scan parameters (Carriage):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 0.2 mm
  Proximity sensor: 69.3 mm
  Roi: 860-900
  Point movement duration 736 msec
  Acquisition time: 0.24 msec
  Total time 12:02

## Slide 12
Scan parameters (Snake):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 0.4 mm
  Proximity sensor: 69.3 mm
  Roi: 860-900
  Point movement duration 608 msec
  Acquisition time: 0.24 msec
  Total time 07:33

## Slide 13
Scan parameters (Carriage):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 0.4 mm
  Proximity sensor: 69.3 mm
  Roi: 860-900
  Point movement duration 608 msec
  Acquisition time: 0.24 msec
  Total time 10:56

## Slide 14
Scan parameters (Snake):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 0.5 mm
  Proximity sensor: 71.5 mm
  Roi: 860-900
  Point movement duration 578 msec
  Acquisition time: 0.24 msec
  Total time 06:02

## Slide 15
Scan parameters (Carriage):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 0.5 mm
  Proximity sensor: 69.3 mm
  Roi: 860-900
  Point movement duration 575 msec
  Acquisition time: 0.24 msec
  Total time 10:23

## Slide 16
Scan parameters (Snake):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 1.0 mm
  Proximity sensor: 71.5 mm
  Roi: 860-900
  Point movement duration 190 msec
  Acquisition time: 0.22 msec
  Total time 04:02

## Slide 17
Scan parameters (Carriage):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 1.0 mm
  Proximity sensor: 71.5 mm
  Roi: 860-900
  Point movement duration 190 msec
  Acquisition time: 0.22 msec
  Total time 08:02

## Slide 18
Scan parameters (Snake):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 1.5 mm
  Proximity sensor: 71.5 mm
  Roi: 860-900
  Point movement duration 130 msec
  Acquisition time: 0.22 msec
  Total time 04:03

## Slide 19
Scan parameters (Snake):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 0.3 mm
  Proximity sensor: 69.3 mm
  Roi: 860-900
  Point movement duration 669 msec
  Acquisition time: 0.24 msec
  Total time 08:30
New patern !!

## Slide 20
Scan parameters (Carriage):
  Xaxis=20 mm
    Step size 1 mm
  Yaxis=20 mm
    Step size 1 mm
  Acquisition time 1sec ( 0.1 sec ? 0.2 real time)
  Total points 441
  Precision 0.2 mm
  Proximity sensor: 69.3 mm
  Roi: 860-900
  Point movement duration 672 msec
  Acquisition time: 0.24 msec
  Total time 10:40
New patern !!