## Slide 1
Scan parameters (Carriage)
  X_axis = 50 mm
    Step size = 1 mm
  Y_axis = 50 mm
    Step size = 1 mm
  ROI: 853-917
  Scan Velocity = 5 mm/sec
  Acceleration = 10 mm/sec^2
  Return Velocity = 50 mm/sec
  Total line time = 11 sec
  Total scan time 613.5 sec
  Acq distance = 1.25 mm
  Acc time = 0.5 sec

## Slide 2
Scan parameters (Carriage)
  X_axis = 50 mm
    Step size = 1 mm
  Y_axis = 50 mm
    Step size = 1 mm
  ROI: 853-917
  Scan Velocity = 10 mm/sec
  Acceleration = 20 mm/sec^2
  Return Velocity = 50 mm/sec
  Total line time = 6 sec
  Total scan time 6316 sec
  Acc distance = 2.5 mm
  Acc time = 0.5 sec
  Acq time = 5 sec
  Total time measured with timer: 13 min

## Slide 3
Scan parameters (Carriage)
  X_axis = 50 mm
    Step size = 1 mm
  Y_axis = 50 mm
    Step size = 1 mm
  ROI: 853-917
  Scan Velocity = 10 mm/sec
  Acceleration = 20 mm/sec^2
  Return Velocity = 100 mm/sec
  Total line time = 6 sec
  Total scan time 333 sec
  Acc distance = 2.5 mm
  Acc time = 0.5 sec
  Acq time = 5 sec
  Total time measured with timer: 14:16

## Slide 4
Scan parameters (Carriage)
  X_axis = 255 mm
    Step size = 1 mm
  Y_axis = 123 mm
    Step size = 1 mm
  ROI: Full spectrum
  Scan Velocity = 10 mm/sec
  Acceleration = 20 mm/sec^2
  Return Velocity = 20 mm/sec
  Acc distance = 2.5 mm
  Acc time = 0.5 sec
  Acq time = 25.5 sec
  Total line time = 26.5 sec
  Total scan time = 5122 sec
  Total time measured with timer: 01:34 hours:minutes

## Slide 5
Scan parameters (Carriage)
  X_axis = 59 mm
    Step size = 1 mm
  Y_axis = 54 mm
    Step size = 1 mm
  ROI: Full spectrum
  Scan Velocity = 10 mm/sec
  Acceleration = 20 mm/sec^2
  Return Velocity = 30 mm/sec
  Acc distance = 2.5 mm
  Acc time = 0.5 sec
  Acq time = 25.5 sec
  Total line time = 26.5 sec
  Total scan time = 494.7 sec
  Total time measured with timer: 20 minutes

## Slide 6
Scan parameters (Carriage)
  X_axis = 254 mm
    Step size = 0.5 mm
  Y_axis = 20 mm
    Step size = 0.5 mm
  ROI: Full spectrum
  Scan Velocity = 5 mm/sec
  Acceleration = 20 mm/sec^2
  Return Velocity = 30 mm/sec
  Acc distance = 0.625 mm
  Acc time = 0.25 sec
  Acq time = 50.8 sec
  Total line time = 51.3 sec
  Total scan time = 2443.63 sec
  Total time measured with timer: 48 minutes

## Slide 7
Scan parameters (Carriage)
  X_axis = 254 mm
    Step size = 0.5 mm
  Y_axis = 20 mm
    Step size = 0.5 mm
  ROI: Full spectrum
  Scan Velocity = 5 mm/sec
  Acceleration = 5 mm/sec^2
  Return Velocity = 5 mm/sec
  Acc distance = 2.5 mm
  Acc time = 1 sec
  Acq time = 50.8 sec
  Total line time = 52.8 sec
  Total scan time = 10512.8sec

## Slide 8
Scan parameters (Carriage)
  X_axis = 254 mm
    Step size = 0.5 mm
  Y_axis = 20 mm
    Step size = 0.5 mm
  ROI: Full spectrum
  Scan Velocity = 5 mm/sec
  Acceleration = 10 mm/sec^2
  Return Velocity = 5 mm/sec
  Acc distance = 1.25 mm
  Acc time = 0.5 sec
  Acq time = 50.8 sec
  Total line time = 52.8 sec
  Total scan time = 10512.8sec

## Slide 9
Scan parameters (Carriage)
  X_axis = 254 mm
    Step size = 0.5 mm
  Y_axis = 10 mm
    Step size = 0.5 mm
  ROI: Full spectrum
  Scan Velocity = 2.5 mm/sec
  Acceleration = 10 mm/sec^2
  Return Velocity (Μεταβλητή)= 2.5, 10 , 50, 20 mm/sec
  Acc distance = 0.3125 mm
  Acc time = 0.25 sec
  Acq time = 101.6 sec
  Total line time = 102.1sec
  Total scan time = 4695.35 sec

## Slide 10
Scan parameters (Carriage)
  X_axis = 254 mm
    Step size = 0.5 mm
  Y_axis = 10 mm
    Step size = 0.5 mm
  ROI: Full spectrum
  Scan Velocity = 10 mm/sec
  Acceleration = 10 mm/sec^2
  Return Velocity = 10
  Acc distance = 5 mm
  Acc time = 1 sec
  Acq time = 25.4sec
  Total line time = 27.4sec
  Total scan time = 1103.4sec

## Slide 11
Scan parameters (Carriage)
  X_axis = 254 mm
    Step size = 0.5 mm
  Y_axis = 10 mm
    Step size = 0.5 mm
  ROI: Full spectrum
  Scan Velocity = 2.5 mm/sec
  Acceleration = 10 mm/sec^2
  Return Velocity = 10
  Acc distance = 0.4 mm
  Acc time = 0.25 sec
  Acq time = 101.6sec
  Total line time = 102.1sec
  Total scan time = 2653.35sec

## Slide 12
Scan parameters (Carriage)
  X_axis = 254 mm
    Step size = 0.5 mm
  Y_axis = 10 mm
    Step size = 0.5 mm
  ROI: Full spectrum
  Scan Velocity = 2.5 mm/sec
  Acceleration = 20 mm/sec^2
  Return Velocity = 20
  Acc distance = 0.27 mm
  Acc time = 0.16 sec
  Acq time = 76.2sec
  Total line time = 76.53sec
  Total scan time = 2116.31sec

## Slide 13
Scan parameters (Carriage)
  X_axis = 60 mm
    Step size = 0.5 mm
  Y_axis = 129 mm
    Step size = 0.5 mm
  ROI: On Fe (700-750) after 20 row
  Scan Velocity = 5 mm/sec
  Acceleration = 10 mm/sec^2
  Return Velocity = 30 mm/sec
  Acc distance = 1.25 mm
  Acc time = 0.5 sec
  Acq time = 12 sec
  Total line time = 13sec
  Total scan time = 3904.31sec

## Slide 14
Scan parameters (Carriage)
  X_axis = 60 mm
    Step size = 0.5 mm
  Y_axis = 130 mm
    Step size = 0.5 mm
  ROI: On Fe (700-750)
  Scan Velocity = 10 mm/sec
  Acceleration = 2.5 mm/sec^2
  Return Velocity = 20 mm/sec
  Time per pixel 50 msec
  Acc distance = 20 mm
  Acc time = 4.5 sec
  Acq time = 6 sec
  Total line time = 14 sec
  Total scan time = 3869 sec
  Additional acceleration distance = 0 mm
  Stopped after line 23. Bad alignment

## Slide 15
Scan parameters (Carriage)
  X_axis = 60 mm
    Step size = 0.5 mm
  Y_axis = 60 mm
    Step size = 0.5 mm
  ROI: On Fe (700-750)
  Scan Velocity = 5 mm/sec
  Acceleration = 2.5 mm/sec^2
  Return Velocity = 50 mm/sec
  Time per pixel 100 msec
  Acc distance = 10 mm
  Acc time = 2 sec
  Acq time = 20 sec
  Total line time = 24 sec
  Total scan time = 3869 sec
  Additional acceleration distance = 5 mm

## Slide 16
Scan parameters (Snake with Stepper mode)
  X_axis = 60 mm
    Step size = 0.5 mm
  Y_axis = 32 mm
    Step size = 0.5 mm
  ROI: On Cu (850-9000) and on Full spectrum
  Scan Velocity = 5 mm/sec
  Acceleration = 2.5 mm/sec^2
  Time per pixel 100 msec (0.220 sec acq time+ 0.500 sec mov. time)
  Total points 7865
  Total scan time measured with timer = 2 hours and 11min

## Slide 17
Scan parameters (Carriage with Free runing mode)
  X_axis = 60 mm
    Step size = 0.5 mm
  Y_axis = 32 mm
    Step size = 0.5 mm
  ROI: Cu-Ka(850-900), Ar-Ka (327-425), Rh-Ka (2039-2113)
  Scan Velocity = 5 mm/sec
  Acceleration = 2.5 mm/sec^2
  Time per pixel 100 msec
  Total points 7865
  Total scan time measured with timer = 26 min
Ar-Ka
Cu-Ka
Rh-Ka