## Slide 1
Scan parameters (Carriage Free Running )
  X_axis = 120 mm
    Step size = 1.0 mm
  Y_axis = 406 mm
    Step size = 0.5 mm
  ROI: Fe(690-751), Au(1047-1098), Full
  Scan Velocity = 10 mm/sec
  Acceleration = 5 mm/sec^2
  Return Velocity = 30 mm/sec
  Time per pixel = 100 msec
  Acc distance = 20 mm
  Acc time = 2.82 sec
  Acq time = 13 sec
  Total line time = 18.65 sec
  Total scan time = 2718.57sec
  Total time measured with timer: 1:00:14
  Additional acceleration distance added = 10 mm
  X-ray tube: 40kV, 200 uA
Full spectrum
Au spectrum
Fe spectrum